Americans with

Disabilities Act

Transition Plan for Curbs and Sidewalks

City of Santa Rosa

244 South 4th Street

Santa Rosa, NM 88435

Mayor Albert E. Campos Jr

ADA Transition Plan Adopted:

City Councilor:		Daryl B. Gomez

City Councilor:	 	Alvin V. Maestas Sr.

City Councilor:		Yolanda Chavez

City Councilor:  	Richard Moniz

City Administrator:	Ian John Serrano

City Clerk:		Margarita Mireles

This information is (will be) available on the City of Santa Rosa Web site

AMERICAN WITH DISABILITIES ACT

TRANSITION PLAN

I. Background

The American with Disabilities Act (ADA) of 1990 is a Federal Civil Rights Legislation which mandates non-discrimination to persons with disabilities. The ADA, Title II prohibits discrimination by public entities on the basis of disability. Therefore, it is important that the City of Santa Rosa comply with all applicable laws and regulations, including those protecting persons with disabilities.

In order to accomplish this, the City of Santa Rosa developed a Transition Plan by conducting a self-evaluation of the accessibility by persons with disabilities on its Roads; identifying issues of accessibility that need to be addressed; upgrading its program for improvement of those facilities and comply with ADA mandated standards. The City will progressively remove physical barriers to accessibility when facilities adjacent to its Roads cannot ensure access to persons with disabilities.

Realizing that geometric, infrastructure and structural changes will take time and money to upgrade the existing facilities, the City’s Transition Plan includes provisions to include specifications on all upcoming design projects, to comply with ADA requirements.

The ADA regulations further require the Transition Plan to contain the following elements:

- A list of physical barriers in the public entity’s facilities that limit accessibility of its programs, services, or activities to individuals with disabilities;

- A detail description of the methods to be utilized to remove these barriers and make the facilities accessible;

- The Schedule for taking the necessary steps to achieve compliance with Title II;

- The name of the official responsible for the plan’s implementation;

- A schedule for providing ADA compliance pedestrian facilities, where pedestrian walkways cross the streets.

The City currently follows the NMDOT’s standards that conform to ADA laws. These standards are published under the NMDOT’s Standard Drawings for Pedestrian Access Details for Curb Ramps, Types A through D; Median Curb Details, Pedestrian Islands, Driveways and Driveway Aprons, Stairway and Handrail requirements, Accessible Parking, Passenger loading bus stop and ramp requirements; all aided by a Detectable Warning Surface where applicable.

The City encourages the development and construction of these facilities among its improvements to comply with all applicable laws and regulations, including those protecting persons with disabilities.

II. ADA Program

- Responsible Official

A Disability Program Coordinator has been designated by the Mayor as the person responsible for the development and implementation of the NMDOT ADA Transition Plan.

- Internal Review

In May 2011 the City conducted an inventory of the City facilities along its Roads. The City’s commitment to upgrade and implement ADA regulations is what makes the program work.

The City Council and Residents have been involved in each phase of the Transition Plan implementation. In addition, the City has established an inventory of Access Barriers to consider in project planning.

- Self-Evaluation

As required by ADA legislation, the City has conducted a self-evaluation survey of all facilities within its jurisdiction in May 2011; identifying any physical barriers to ensure their accessibility to persons with disabilities.

III. Transition Plan

- Prioritization

City has the responsibility of identifying barriers and implementing a corrective program. The City current inventory shows approximately 	 Ramps; during the survey, it was determined that the majority of the Ramps need updates.

The City has experienced limited funding and opted to prioritize upgrading of those existing Ramps according to a criterion set forth on May 2011. This Criteria is as follows,

- Population is used as first criteria since larger population concentrations have the possibility of higher impact. This is considered as “High” priority.

- Land use in areas where the population is large but due to the limited funds the City is unable to bring the entire town/populated area up to compliance. This is considered as “Median” priority.

- If there is an upcoming project, the City will ensure the project improves accessibility. This is considered as “Low” priority.

- Facility Classification

Access to and utilization of the City facilities by individuals with disabilities is frequently compromised by barriers described below. Barrier descriptions are not necessarily complete, but they represent the type of barriers identified by the City during our site survey.

In general, the City Road system provides traveling routes in which local and the traveling public visit public buildings and other services. Sidewalks are the pedestrian travel way, and are frequently obstructed by protruding barriers. Therefore, pedestrian destination from transportation facilities is interrupted, and sometimes it is not accessible. Handicap Ramps are absent or do not meet the current requirements. The following facility classification was notorious during the City’s field survey,

- Parking Facilities and Street Parking lack accessible areas where a disabled person can merge into and out of the pedestrian facilities. Signage is missing or non-existing.

- Stairs and Handrails do not meet the shape and height requirements. Visual warnings are not provided at tread nosing.

- Fire Hydrants are often built within 36 inches from the back of the Curb and Gutter. If pedestrian facilities exist and comply with ADA regulations, often the presence of Fire Hydrants and other obstructions makes these facilities noncompliant.

- Trees were found on the middle of the sidewalk. Prior to landscaping, pedestrian facilities were in compliance. Although landscaping projects provide beautification to the area, the tree planting location provided an obstruction to persons with disabilities.

- Curb Drop Inlets were found at different intersection quadrants. Upgrading those facilities located where drop inlets were found; may require structural considerations and utility relocation that can only be determine in the future.

- Wide Streets were also constructed in some parts of the community. Street Median Refuge and/or Pedestrian Crossing Refuge Island have not been provided in the past and may be required; this may be determined as deemed necessary in the future.

- Inventory

Table 1, depicts the City’s facilities found during the survey within its Roads,

| Street | Number of Intersection Quadrants | Number of Existing Ramps | Disabled Ramp Type |
| --- | --- | --- | --- |
|  |  |  | A | B | C | D |

Table 1

- Targeted Barrier Removal Projects

Upon funding availability, the City will implement a barrier removal program within the City Right-of-Way facilities where the changes cannot be made to effectively meet ADA requirements; Refer to Appendix A. The program is based on the facility survey conducted by the City and it constitutes the Transition Plan of accessibility and upgrades with targeted dates for completion to conform to that shown in Table 2.

The top priority of the City’s Transition Plan is to make the City’s existing facilities accessible. The City wide facilities are those which serve pedestrians within the City’s Right-of-Way. The City will comply with all applicable laws and regulations, including those protecting persons with disabilities.

When appropriate, the City will replace existing facilities by reconstructing new ones, bringing them into compliance. The City will follow the required ADA requirements for new facilities and respective upgrades.

- The City of Santa Rosa is responsible for the City’s Transition Plan within its Right-of-Way. Most of the problems within the Right-of-Way concern physical barriers that cannot be addressed through other options such as Policy Changes or alternative methods. Therefore, the Public Right-of-Way can only be made accessible via a realistic and fundable strategy for Curb and Gutter Modifications, Wheelchair Ramp construction and some sidewalk modifications.

IV.	Strategy

The following strategy is recommended to assist the City in meeting ADA requirements,

A.	Handicap Ramps

Whenever construction or alteration occurs within the Public Right-of-Way, the City will ensure that ADA requirements are implemented.

B.	Utilities

Whenever a utility relocation, construction or alteration occurs within the Public Right-of-Way, the City will ensure that ADA requirements are implemented.

- Transit

Transit Stops should be regulated by the municipal government to ensure that the public stops are accessible.

V.	Funding

The City will strategically commit, upon fund availability, funding for maintenance projects towards ADA compliance projects. In addition, developer impacts on the Public’s Right-of-Way will be required to further enhance pedestrian facilities. To date, it is unknown the amount of money that the City has invested into ADA Compliance.

VII.	STIP Construction Projects Schedule

Table 2 lists those projects that will be considered to enhance the ADA compliance within the District,

| CN | Termini | Funding Source |
| --- | --- | --- |
|  |  | FY | LGRF | GRIP II | ARRA | STIP |
| 1849 | Allison Road Corridor; Phase I | 2012 |  |  |  | ( |
| 6100210 | Allison Road Corridor; Phase I | 2013 |  |  |  | ( |
| 6100240 | Cuba - Phase 1 | 2011 |  |  |  | ( |
| D6008 | Bridge Replacement near Jemez Springs | 2010 |  |  |  | ( |
| 7178 | Roosevelt; First & Second Streets in Grants, NM | 2011 |  |  |  | ( |
| G2S7500 | Village of Milan | 2012 |  | ( |  |  |
| G2S7543 | City of Gallup | 2012 |  | ( |  |  |
| G2S7496 | Pueblo of Acoma | 2012 |  | ( |  |  |
| G2S7569 | Village of Jemez Springs | 2012 |  | ( |  |  |
|  | San Ysidro – COOP | 2010 | ( |  |  |  |
|  | Village of Reserve- COOP | 2010 | ( |  |  |  |
|  | Cuba School District | 2010 | ( |  |  |  |
|  | Village of Milan – MAP | 2010 | ( |  |  |  |
|  | Village of Jemez Springs – MAP | 2010 | ( |  |  |  |
|  | Village of Reserve- MAP | 2010 | ( |  |  |  |
|  | City of Grants- MAP |  |  |  |  |  |
|  | NMSU – Grants Campus | 2010 | ( |  |  |  |
|  | Village of Reserve | 2010 |  |  | ( |  |

Table 2

| Assigned to: Jose A. Silva |  | Title: Technical Support Engineer | Phone: (505) 285-3200 |
| --- | --- | --- | --- |
| District: Six |  | Location: P.O. Box 2160; Milan, NM; 87021 | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 117 | Sakelares, NE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Sakelares, NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Sakelares, S |  |  | New Construction | 74.00 | Low |  |  |
|  | Lloyd Aragon, SW | T-Intersec. |  | New Construction | 74.00 | Median |  |  |
|  | Lloyd Aragon, SE |  |  | New Construction | 74.00 | Median |  |  |
|  | Lloyd Aragon, N |  |  | New Construction | 74.00 | Median |  |  |
|  | Michael, NE | T-Intersec. |  | New Construction | 74.00 | Median |  |  |
|  | Michael, NW |  |  | New Construction | 74.00 | Median |  |  |
|  | Michael, S |  |  | New Construction | 74.00 | Median |  |  |
| NM118 | Will Street, SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Will Street, SW |  |  | New Construction | 74.00 | High |  |  |
|  | Will Street, N |  |  | New Construction | 74.00 | High |  |  |
|  | Nest Street, SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Nest Street, SW |  | None |  |  |  |  |  |
|  | Nest Street, N |  |  | New Construction | 74.00 | High |  |  |
|  | Luis Lane St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Luis Lane St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Luis Lane St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Burke Drive, SE |  | None |  |  |  |  |  |
|  | Burke Drive, SW |  |  | New Construction | 74.00 | High |  |  |
|  | Burke Drive, N |  |  | New Construction | 74.00 | High |  |  |
|  | Miyamara, SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Miyamara, SW |  | None |  |  |  |  |  |
|  | Miyamara, NE |  |  | New Construction | 74.00 | High |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM118 | Miyamara, NW |  |  | New Construction | 74.00 | High |  |  |
|  | Navajo Drive, SE | T-Intersec. | None |  |  |  |  |  |
|  | Navajo Drive, SW |  | None |  |  |  |  |  |
|  | Navajo Drive, N |  |  | New Construction | 74.00 | High |  |  |
|  | Wooddrow, SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Wooddrow, SW |  | None |  |  |  |  |  |
|  | Wooddrow, NE |  |  | New Construction | 74.00 | High |  |  |
|  | Wooddrow, NW |  | None |  |  |  |  |  |
|  | Strong, SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Strong, SW |  | None |  |  |  |  |  |
|  | Strong, NE |  |  | New Construction | 74.00 | High |  |  |
|  | Strong, NW |  |  | New Construction | 74.00 | High |  |  |
|  | Puerco, SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Puerco, SW |  | None |  |  |  |  |  |
|  | Puerco, NE |  | None |  |  |  |  |  |
|  | Puerco, NW |  | None |  |  |  |  |  |
|  | Rico St., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Rico St., SW |  | None |  |  |  |  |  |
|  | Rico St., NE |  | None |  |  |  |  |  |
|  | Rico St., NW |  | None |  |  |  |  |  |
|  | Day St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Day St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Day St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Florence St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Florence St., SW |  | None |  |  |  |  |  |
|  | Florence St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Marguierete St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Marguierete St., SW |  | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM118 | Marguierete St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Eilson St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Eilson St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Eilson St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Dean St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Dean St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Dean St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Clark St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Clark St., SW |  | None |  |  |  |  |  |
|  | Clark St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Arnold St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Arnold St., SW |  | None |  |  |  |  |  |
|  | Arnold St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Cementery, NE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Cementery, NW |  |  | New Construction | 74.00 | High |  |  |
|  | Cementery, S |  |  | New Construction | 74.00 | High |  |  |
|  | Camino Del Monte, SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Camino Del Monte, SW |  |  | New Construction | 74.00 | High |  |  |
|  | Camino Del Monte, N |  |  | New Construction | 74.00 | High |  |  |
|  | Elizabeth St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Elizabeth St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Elizabeth St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Tocito St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Tocito St., SW |  | None |  |  |  |  |  |
|  | Tocito St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Aztec St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Aztec St., SW |  |  | New Construction | 74.00 | High |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM118 | Aztec St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Patton St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Patton St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Patton St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Mine Run St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Mine Run St., SW |  | None |  |  |  |  |  |
|  | Mine Run St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Boardman Ave., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Boardman Ave., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Boardman Ave., N |  |  | New Construction | 74.00 | High |  |  |
|  | Valentine St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Valentine St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Valentine St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Mollica St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Mollica St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Mollica St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Verdi Drive, SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Verdi Drive, SW |  |  | New Construction | 74.00 | High |  |  |
|  | Verdi Drive, N |  |  | New Construction | 74.00 | High |  |  |
|  | First St., SE | T-Intersec. | None |  |  |  |  |  |
|  | First St., SW |  | None |  |  |  |  |  |
|  | First St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Second St., SE | 4-Leg Inter. |  |  |  |  |  |  |
|  | Second St., SW |  |  |  |  |  |  |  |
|  | Second St., NE |  |  |  |  |  |  |  |
|  | Second St., NW |  | Fire Hydrant | Reconstruction | 74.00 | High |  |  |
|  | Third St., SE | 4-Leg Inter. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM118 | Third St., SW |  | None |  |  |  |  |  |
|  | Third St., NE |  | None |  |  |  |  |  |
|  | Third St., NW |  | None |  |  |  |  |  |
|  | Fourth St., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Fourth St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Fourth St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Fifth St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Fifth St., SW |  | None |  |  |  |  |  |
|  | Fifth St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Sixth St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Sixth St., SW |  | None |  |  |  |  |  |
|  | Sixth St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Seventh St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Seventh St., SW |  | None |  |  |  |  |  |
|  | Seventh St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Eigth St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Eigth St., SW |  | None |  |  |  |  |  |
|  | Eigth St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Nineth St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Nineth St., SW |  | None |  |  |  |  |  |
|  | Nineth St., N |  |  | New Construction | 74.00 | High |  |  |
| NM 122 | NM 53, SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | NM 53, SW |  |  | New Construction | 74.00 | High |  |  |
|  | NM 53, NE |  |  | New Construction | 74.00 | High |  |  |
|  | NM 53, NW |  |  | New Construction | 74.00 | High |  |  |
|  | El Morro St., SE | T-Intersec. | None |  |  |  |  |  |
|  | El Morro St., SW |  |  | New Construction | 74.00 | High |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 122 | El Morro St., N |  |  | New Construction | 74.00 | High |  |  |
|  | Fifth St., SE | 4-Leg Inter. | None |  |  | High |  |  |
|  | Fifth St., SW |  | None |  |  | High |  |  |
|  | Fifth St., NE |  | None |  |  | High |  |  |
|  | Fifth St., NW |  | None |  |  | High |  |  |
|  | Fourth St., NE | T-Intersec. | None |  |  | High |  |  |
|  | Fourth St., NW |  | None |  |  | High |  |  |
|  | Fourth St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Third St. NE | T-Intersec. | None |  |  | High |  |  |
|  | Third St. NW |  | None |  |  | High |  |  |
|  | Third St. S |  |  | New Construction | 74.00 | High |  |  |
|  | Second St., SE | 4-Leg Inter. | None |  |  | High |  |  |
|  | Second St., SW |  | None |  |  | High |  |  |
|  | Second St., NE |  | None |  |  | High |  |  |
|  | Second St., NW |  | None |  |  | High |  |  |
|  | First St., SE | 4-Leg Inter. | None |  |  | High |  |  |
|  | First St., SW |  | None |  |  | High |  |  |
|  | First St., NE |  | None |  |  | High |  |  |
|  | First St., NW |  | None |  |  | High |  |  |
|  | Naomi St., SE | 4-Leg Inter. | None |  |  | High |  |  |
|  |  |  |  |  |  | High |  |  |
|  | Naomi St., SW |  | None |  |  | High |  |  |
|  | Naomi St., NE |  | None |  |  | High |  |  |
|  | Naomi St., NW |  | None |  |  | High |  |  |
|  | George Hanosh St., NE | T-Intersec. | None |  |  | High |  |  |
|  | George Hanosh St., NW |  | None |  |  | High |  |  |
|  | George Hanosh St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Halsey St., NE | T-Intersec. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 122 | Halsey St., NW |  | None |  |  |  |  |  |
|  | Halsey St., S |  |  | New Construction | 74.00 | High |  |  |
|  | McArthur St., NE | T-Intersec. | None |  |  |  |  |  |
|  | McArthur St., NW |  | None |  |  |  |  |  |
|  | McArthur St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Nimitz St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Nimitz St., NW |  | None |  |  |  |  |  |
|  | Nimitz St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Bradley St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Bradley St., NW |  | None |  |  |  |  |  |
|  | Bradley St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Patton St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Patton St., NW |  | None |  |  |  |  |  |
|  | Patton St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Smith St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Smith St., NW |  | None |  |  |  |  |  |
|  | Smith St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Charles St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Charles St., NW |  | None |  |  |  |  |  |
|  | Charles St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Anderman St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Anderman St., NW |  | None |  |  |  |  |  |
|  | Anderman St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Geis St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Geis St., NW |  | None |  |  |  |  |  |
|  | Geis St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Iron St., NE | T-Intersec. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 122 | Iron St., NW |  | None |  |  |  |  |  |
|  | Iron St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Lead St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Lead St., NW |  | None |  |  |  |  |  |
|  | Lead St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Silver St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Silver St., NW |  | None |  |  |  |  |  |
|  | Silver St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Gold St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Gold St., NW |  | None |  |  |  |  |  |
|  | Gold St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Central St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Central St., NW |  | None |  |  |  |  |  |
|  | Central St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Wayne St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Wayne St., NW |  | None |  |  |  |  |  |
|  | Wayne St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Acoma St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Acoma St., NW |  | None |  |  |  |  |  |
|  | Acoma St., S |  |  | New Construction | 74.00 | High |  |  |
|  | Breece St., NE | T-Intersec. | None |  |  |  |  |  |
|  | Breece St., NW |  | None |  |  |  |  |  |
|  | Breece St., S |  |  | New Construction | 74.00 | High |  |  |
|  | SR 605, SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | SR 605, SW |  |  | New Construction | 74.00 | High |  |  |
|  | SR 605, NE |  | None |  |  |  |  |  |
|  | SR 605, NW |  | None |  |  |  |  |  |
|  | Airport Rd., SE | T-Intersec. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 122 | Airport Rd., SW |  | None |  |  |  |  |  |
|  | Airport Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | Sand Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Sand Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Sand Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | Cedar Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Cedar Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Cedar Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | Milan Rd., SE |  |  | New Construction | 74.00 | High |  |  |
|  | Milan Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Milan Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | West Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | West Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | West Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | East Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | East Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | East Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | Aspen Rd., SE |  |  | New Construction | 74.00 | High |  |  |
|  | Aspen Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Aspen Rd., N |  |  | New Construction | 74.00 | High |  |  |
|  | Elkins Rd., NE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Elkins Rd., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Elkins Rd., S |  |  | New Construction | 74.00 | High |  |  |
|  | Horizon Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Horizon Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Horizon Rd., N |  |  | New Construction | 74.00 | High |  |  |
| NM 547 | High St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | High St., SW |  |  | New Construction | 74.00 | High |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 547 | High St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | High St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Stephens St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Stephens St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Stephens St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Stephens St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Jefferson St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Jefferson St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Jefferson St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Jefferson St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Washington St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Washington St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Washington St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Washington St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Monroe St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Monroe St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Monroe St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Monroe St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Adams St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Adams St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Adams St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Adams St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Harriso St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Harriso St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Harriso St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Harriso St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Lincoln St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 547 | Lincoln St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Lincoln St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Lincoln St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | Roosevelt Ave., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Roosevelt Ave., SW |  | None |  |  |  |  |  |
|  | Roosevelt Ave., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Roosevelt Ave., NW |  | None |  |  |  |  |  |
|  | University Ave., NE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | University Ave., NW |  |  | New Construction | 74.00 | High |  |  |
|  | University Ave., S |  |  | New Construction | 74.00 | High |  |  |
|  | Nimitz St., SE | 4-Leg Inter. |  | New Construction | 74.00 | High |  |  |
|  | Nimitz St., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Nimitz St., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Nimitz St., NW |  |  | New Construction | 74.00 | High |  |  |
|  | College St., SW | T-Intersec. | None |  |  |  |  |  |
|  | College St., NW |  | None |  |  |  |  |  |
|  | College St., E |  |  | New Construction | 74.00 | High |  |  |
|  | Cordova St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Cordova St., NE |  | None |  |  |  |  |  |
|  | Cordova St., W |  |  | New Construction | 74.00 | High |  |  |
|  | Del Norte St., SE | T-Intersec. | None |  |  |  |  |  |
|  | Del Norte St., NE |  | None |  |  |  |  |  |
|  | Del Norte St., W |  |  | New Construction | 74.00 | High |  |  |
|  | Sakelares Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Sakelares Rd., NE |  |  | New Construction | 74.00 | High |  |  |
|  | Sakelares Rd., W |  |  | New Construction | 74.00 | High |  |  |
|  | Bonita Rd., SE | T-Intersec. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 547 | Bonita Rd., NE |  | None |  |  |  |  |  |
|  | Bonita Rd., W |  |  | New Construction | 74.00 | High |  |  |
|  | Goltz Rd. SW | T-Intersec. | None |  |  |  |  |  |
|  | Goltz Rd. NW |  | None |  |  |  |  |  |
|  | Goltz Rd. E |  |  | New Construction | 74.00 | High |  |  |
|  | LA Heights Rd., SW | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | LA Heights Rd.,NW |  |  | New Construction | 74.00 | High |  |  |
|  | LA Heights Rd., E |  |  | New Construction | 74.00 | High |  |  |
|  | Sawmill Rd., SE | T-Intersec. |  | New Construction | 74.00 | High |  |  |
|  | Sawmill Rd., SW |  |  | New Construction | 74.00 | High |  |  |
|  | Sawmill Rd., N |  |  | New Construction | 74.00 | High |  |  |
| NM 53 | M.P. 11.1, NE | T-Intersec. | None |  |  |  |  |  |
|  | M.P. 11.1, NW |  | None |  |  |  |  |  |
|  | M.P. 11.1, S |  |  | New Construction | 74.00 | Low |  |  |
|  | W. Chavez Circle Rd NE | T-Intersec. | None |  |  |  |  |  |
|  | W. Chavez Circle Rd NW |  | None |  |  |  |  |  |
|  | W. Chavez Circle Rd S |  |  | New Construction | 74.00 | Low |  |  |
|  | Riverbed Rd., SE | T-Intersec. | None |  |  |  |  |  |
|  | Riverbed Rd., SW |  | None |  |  |  |  |  |
|  | Riverbed Rd., N |  |  | New Construction | 74.00 | Low |  |  |
|  | Lule Rd., NE | T-Intersec. | None |  |  |  |  |  |
|  | Lule Rd., NW |  | None |  |  |  |  |  |
|  | Lule Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Dia Mesa Rd., NE | T-Intersec. | None |  |  |  |  |  |
|  | Dia Mesa Rd., NW |  | None |  |  |  |  |  |
|  | Dia Mesa Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Pincion Rd., NE | T-Intersec. | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 53 | Pincion Rd., NW |  | Yes |  |  |  |  |  |
|  | Pincion Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Laweka Rd. NE | T-Intersec. | None |  |  |  |  |  |
|  | Laweka Rd. NE |  | None |  |  |  |  |  |
|  | Laweka Rd. NE |  |  | New Construction | 74.00 | Low |  |  |
|  | E. Chavez Circle Rd NE | T-Intersec. | None |  |  |  |  |  |
|  | E. Chavez Circle Rd NW |  | None |  |  |  |  |  |
|  | E. Chavez Circle Rd S |  |  | New Construction | 74.00 | Low |  |  |
|  | Malani Rd., SE | T-Intersec. | None |  |  |  |  |  |
|  | Malani Rd., SW |  | None |  |  |  |  |  |
|  | Malani Rd., N |  |  | New Construction | 74.00 | Low |  |  |
|  | Harker Circle W Rd. SE | T-Intersec. | None |  |  |  |  |  |
|  | Harker Circle W Rd. SW |  | None |  |  |  |  |  |
|  | Harker Circle W Rd. N |  |  | New Construction | 74.00 | Low |  |  |
|  | Harker Circle Rd. SE | T-Intersec. | None |  |  |  |  |  |
|  | Harker Circle Rd. SW |  | None |  |  |  |  |  |
|  | Harker Circle Rd. N |  |  | New Construction | 74.00 | Low |  |  |
|  | Zuni Rd., NE | T-Intersec. | None |  |  |  |  |  |
|  | Zuni Rd., NW |  | None |  |  |  |  |  |
|  | Zuni Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Wayco Circle Rd., SE | T-Intersec. | None |  |  |  |  |  |
|  | Wayco Circle Rd., SW |  | None |  |  |  |  |  |
|  | Wayco Circle Rd., N |  |  | New Construction | 74.00 | Low |  |  |
|  | Wea Hkee Rd., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Wea Hkee Rd., SW |  | None |  |  |  |  |  |
|  | Wea Hkee Rd., NE |  | None |  |  |  |  |  |
|  | Wea Hkee Rd., NW |  | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 53 | Sandy Springs Rd., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Sandy Springs Rd., SW |  | None |  |  |  |  |  |
|  | Sandy Springs Rd., NE |  | None |  |  |  |  |  |
|  | Sandy Springs Rd., NW |  | None |  |  |  |  |  |
|  | Paywa Rd., NE | T-Intersec. | None |  |  |  |  |  |
|  | Paywa Rd., NW |  | None |  |  |  |  |  |
|  | Paywa Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Ashorft Rd., NE | T-Intersec. | None |  |  |  |  |  |
|  | Ashorft Rd., NW |  | None |  |  |  |  |  |
|  | Ashorft Rd., S |  |  | New Construction | 74.00 | Low |  |  |
|  | Bloomfield Rd., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Bloomfield Rd., SW |  | None |  |  |  |  |  |
|  | Bloomfield Rd., NE |  | None |  |  |  |  |  |
|  | Bloomfield Rd., NW |  | None |  |  |  |  |  |
|  | Tietjen Rd., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Tietjen Rd., SW |  | None |  |  |  |  |  |
|  | Tietjen Rd., NE |  | None |  |  |  |  |  |
|  | Tietjen Rd., NW |  | None |  |  |  |  |  |
|  | M.P. 33.6; NE | T-Intersec. | None |  |  |  |  |  |
|  | M.P. 33.6; NW |  | None |  |  |  |  |  |
|  | M.P. 33.6; SE |  |  | New Construction | 74.00 | Low |  |  |
|  | Zuni Rte. 301S; NE | T-Intersec. | None |  |  |  |  |  |
|  | Zuni Rte. 301S; NW |  | None |  |  |  |  |  |
|  | Zuni Rte. 301S; S |  |  | New Construction | 74.00 | Low |  |  |
| US 60 | East Island; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | East Island; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | East Island; N |  |  | New Construction | 74.00 | Low |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| US 60 | Center Island S; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Center Island S; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Center Island S; N |  |  | New Construction | 74.00 | Low |  |  |
|  | Center Island N; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Center Island N; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Center Island N; N |  |  | New Construction | 74.00 | Low |  |  |
|  | 1st Island; NM 12; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | 1st Island; NM 12; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | 1st Island; NM 12; W |  |  | New Construction | 74.00 | Low |  |  |
|  | Island;NW Jct 12/60; NE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Island;NW Jct 12/60; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Island; NW Jct 12/60; S |  |  | New Construction | 74.00 | Low |  |  |
| US 550 | Los Pinos Rd., SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Los Pinos Rd., SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Los Pinos Rd., NE |  | None |  |  |  |  |  |
|  | Los Pinos Rd., NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Church Rd., SW | T-Intersec. | None |  |  |  |  |  |
|  | Church Rd., NW |  | None |  |  |  |  |  |
|  | Church Rd., E |  |  | New Construction | 74.00 | Low |  |  |
|  | Reed Rd., SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Reed Rd., NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Reed Rd., W |  |  | New Construction | 74.00 | Low |  |  |
|  | Calle Oakwood Rd., SW | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Calle Oakwood Rd., NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Calle Oakwood Rd., E |  |  | New Construction | 74.00 | Low |  |  |
|  | McDonald's Rd., SW | T-Intersec. | None |  |  |  |  |  |
|  | McDonald's Rd., NW |  |  | New Construction | 74.00 | Low |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| US 550 | McDonald's Rd., E |  |  | New Construction | 74.00 | Low |  |  |
|  | E. Salazar St., SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | E. Salazar St., NE |  |  | New Construction | 74.00 | Low |  |  |
|  | E. Salazar St., W |  |  | New Construction | 74.00 | Low |  |  |
|  | E. Corona Ave., SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | E. Corona Ave., NE |  |  | New Construction | 74.00 | Low |  |  |
|  | E. Corona Ave., W |  |  | New Construction | 74.00 | Low |  |  |
|  | NM 197; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | NM 197; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | NM 197; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | NM 197; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Cuba Ave.,SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Cuba Ave.,SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Cuba Ave.,NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Cuba Ave.,NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Zia; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Zia; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Zia; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Zia; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Avenida San Luis; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Avenida San Luis; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Avenida San Luis; W |  |  | New Construction | 74.00 | Low |  |  |
|  | Manuelita Garcia Ln; NE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Manuelita Garcia Ln; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Manuelita Garcia Ln; S |  |  | New Construction | 74.00 | Low |  |  |
|  | Bobby Garcia Ln; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Bobby Garcia Ln; NE |  |  | New Construction | 74.00 | Low |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| US 550 | Bobby Garcia Ln; W |  |  | New Construction | 74.00 | Low |  |  |
|  | JCT NM 4; SW | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | JCT NM 4; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | JCT NM 4; S |  |  | New Construction | 74.00 | Low |  |  |
|  | JCT NM 4; Medians | Ped Refuge |  | New Construction | 74.00 |  |  |  |
| NM 4 | Bobby Garcia Ln; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Bobby Garcia Ln; SW |  | None |  |  |  |  |  |
|  | Bobby Garcia Ln; NE |  | None |  |  |  |  |  |
|  | Bobby Garcia Ln; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Castle Place; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Castle Place; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Castle Place; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Castle Place; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Sheep Springs Cicle,NE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Sheep Springs Cicle,NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Sheep Springs Cicle,S |  |  | New Construction | 74.00 | Low |  |  |
|  | Mission Rd.; SE | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Mission Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Mission Rd.; N |  |  | New Construction | 74.00 | Low |  |  |
| NM 371 | Rose St.; SE | T-Intersec. | None |  |  |  |  |  |
|  | Rose St.; NE |  | None |  |  |  |  |  |
|  | Rose St.; W |  |  | New Construction | 74.00 | Low |  |  |
|  | Red Rock Rd.; SW | T-Intersec. | None |  |  |  |  |  |
|  | Red Rock Rd.; NW |  | None |  |  |  |  |  |
|  | Red Rock Rd.; E |  |  | New Construction | 74.00 | Low |  |  |
|  | Red Fern Rd.; SE | T-Intersec. | None |  |  |  |  |  |
|  | Red Fern Rd.; NE |  | None |  |  |  |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 371 | Red Fern Rd.; W |  |  | New Construction | 74.00 | Low |  |  |
|  | Wing Song Rd.; SW | T-Intersec. | None |  |  |  |  |  |
|  | Wing Song Rd.; NW |  | None |  |  |  |  |  |
|  | Wing Song Rd.; E |  |  | New Construction | 74.00 | Low |  |  |
|  | Frontier Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Frontier Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Frontier Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Frontier Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
| US 491 | Silva Rd.; SW | T-Intersec. | None |  |  |  |  |  |
|  | Silva Rd.; NW |  | None |  |  |  |  |  |
|  | Silva Rd.; E |  |  | New Construction | 74.00 | Low |  |  |
|  | Maloney Rd.; SE | 4-Leg Inter. | None |  |  |  |  |  |
|  | Maloney Rd.; SW |  | None |  |  |  |  |  |
|  | Maloney Rd.; NE |  | None |  |  |  |  |  |
|  | Maloney Rd.; NW |  | None |  |  |  |  |  |
|  | Lincoln Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Lincoln Rd.; SW |  | None |  |  |  |  |  |
|  | Lincoln Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Lincoln Rd.; NW |  | None |  |  |  |  |  |
|  | Metro Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Metro Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Metro Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Metro Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Jefferson Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Jefferson Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Jefferson Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Jefferson Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| US 491 | Coal Basin Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Coal Basin Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Coal Basin Rd.; NE |  | None |  |  |  |  |  |
|  | Coal Basin Rd.; NW |  | None |  |  |  |  |  |
|  | Hamilton Rd.; SW | T-Intersec. |  | New Construction | 74.00 | Low |  |  |
|  | Hamilton Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Hamilton Rd.; S |  |  | New Construction | 74.00 | Low |  |  |
|  | South Chino Loop; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | South Chino Loop; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | South Chino Loop; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | South Chino Loop; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Jumper Ridge Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Jumper Ridge Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Jumper Ridge Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Jumper Ridge Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Francisco Pond Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Francisco Pond Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Francisco Pond Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Francisco Pond Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | China Springs Rd. SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | China Springs Rd. SW |  |  | New Construction | 74.00 | Low |  |  |
|  | China Springs Rd. NE |  |  | New Construction | 74.00 | Low |  |  |
|  | China Springs Rd. NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Watson Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Watson Rd.; SE |  |  | New Construction | 74.00 | Low |  |  |
|  | Watson Rd.; SE |  |  | New Construction | 74.00 | Low |  |  |
|  | Watson Rd.; SE |  |  | New Construction | 74.00 | Low |  |  |
| Assigned to: Jose A. Silva | Title: Technical Support Engineer |  | Phone: (505) 285-3200 |
| District: Six | Location: P.O. Box 2160; Milan, NM; 87021 |  | Date: May 14, 2009 |
| State Road | Intersection | Type of | Existing | Modification | Unit | Priority | Completed by | Date |
| Number |  | Intersection | Barrier(s) | Needed | Cost | Assigned | FY | Completed |
| NM 602 | Aztec Rd.; SW | T-Intersec. | None |  |  |  |  |  |
|  | Aztec Rd.; NW |  | None |  |  |  |  |  |
|  | Aztec Rd.; E |  | None |  |  |  |  |  |
|  | Mendoza Rd; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Mendoza Rd; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Mendoza Rd; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Mendoza Rd; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Cipriano Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Cipriano Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Cipriano Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Cipriano Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | Park Ave.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | Park Ave.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | Park Ave.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | Park Ave.; NW |  |  | New Construction | 74.00 | Low |  |  |
|  | DeAnn Rd.; SE | 4-Leg Inter. |  | New Construction | 74.00 | Low |  |  |
|  | DeAnn Rd.; SW |  |  | New Construction | 74.00 | Low |  |  |
|  | DeAnn Rd.; NE |  |  | New Construction | 74.00 | Low |  |  |
|  | DeAnn Rd.; NW |  |  | New Construction | 74.00 | Low |  |  |
| NM 297 |  |  |  |  |  |  |  |  |
| NM 126 |  |  |  |  |  |  |  |  |